CONDUMAX II APPLICATION QUESTIONNAIRE

for hydrocarbon and water dewpoint measurement in natural gas

| Customer: |  |
| --- | --- |
| Customer Ref: |  | Michell Ref: |  |

Main Analyser Unit and Sampling System:

| Description of installation position e.g. 'Analyser room' or ‘Field location’: |  |
| --- | --- |
| Hazardous Area Classification: |  |
| Distance from sample point: | metres/yards* |
| Environmental conditions at installation position: Is the proposed installation position inside or outside?: Inside/outside* (Please delete) Comments: | Winter: Temperature:- Min: Max: Nominal °C/°F* Humidity:- Min: Max: Nominal %RH Summer: Temperature:- Min: Max: Nominal °C/°F* Humidity:- Min: Max: Nominal %RH |
| What power supply available?: | 110/220V* | 50/60Hz* | Other: |  |

Gas Composition:

| C1 | % | C2 | % | C3 | % | C4 | % | C5 | % |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| C6 | % | C7 | % | C8 | % | C9 | % | C10 | ppm |
| C11 | ppm | C12 | ppm | N2 | % | CO2 | % | H2S | ppm |
| Others: |  |  |  |  |  |  |  |  |
| Is the gas classified as sour? | Yes/No* |
| If Yes then is conformity required to NACE MR-01-75 or equivalent specification for selection of materials to avoid sulphide stress cracking? | Yes/No* If Yes state specification required: |
| What processing has taken place? e.g. 'chiller' separation plant |  |
| Is the process gas sample wholly gaseous? | Yes/No* | If No give details: |  |
| Is there any particulate contaminants present? | Yes/No* | If Yes give details: |  |
| Are there any additives such as methanol? | Yes/No* | If Yes give details: |  |

* Delete as appropriate

Process Gas Conditions at sample point:

|  | Minimum | Maximum | Nominal | Unit |
| --- | --- | --- | --- | --- |
| Gas pressure: |  |  |  | KPa/bar/psi* Gauge/abs.* |
| Gas Temp: |  |  |  | °C/°F* |
| Ambient Temp: Summer: |  |  |  | °C/°F* |
| Winter: |  |  |  | °C/°F* |
| Typical hydrocarbon dewpoint: at a pressure of: | _________ | _________ | _________ | °C/°F* KPa/bar/psi* Gauge/abs.* |
| Typical water dewpoint: at a pressure of: | _________ | _________ | _________ | °C/°F* KPa/bar/psi* Gauge/abs.* |
| Sample vent/Return pressure: |  |  |  | KPa/bar/psi* Gauge/abs.* |

Optional WATER DEWPOINT MEASUREMENT (if required):

| Expected range required, at line pressure: |  |  | (C dewpoint/(F dewpoint – delete as required |
| --- | --- | --- | --- |

# Output Signals – CONDUMAX II Main Analyser Unit

Analogue 4-20mA: Yes/No* – If yes then specify any two of the following: HC Dewpoint/HCDP analysis pressure/Water dewpoint/WDP analysis pressure* (last two only if water dewpoint option fitted)

Modbus RTU communications:

Other (please specify):

Optional Condumax II REMOTE INTERFACE (safe area monitor and interface, if required):

| Description of installation position e.g. 'instrument room' or ‘Control room’: |  |
| --- | --- |
| Hazardous Area Classification: Note: A safe area is required for the Remote Interface. |  |
| Distance from Main Analyser Unit: | metres/yards* |
| Environmental conditions at installation position: Note: An indoors location suitable for electronic measurement instrumentation is required. Comments: | Winter: Temperature:- Min: Max: Nominal °C/°F* Humidity:- Min: Max: Nominal %RH Summer: Temperature:- Min: Max: Nominal °C/°F* Humidity:- Min: Max: Nominal %RH |
| What power supply available?: | 110/220V* | 50/60Hz* | Other: |  |

* Delete as appropriate